{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["放射治疗器械临床试验设计推荐类型"],"not_rendered":{"defined_names":1},"read":"whole","date_system":"1900"}

{"sheet":"放射治疗器械临床试验设计推荐类型","index":0,"n_rows":4,"n_cols":9,"rows_kept":4,"merged":[[0,0,0,8],[1,7,1,8]]}
["放射治疗器械临床试验设计推荐类型"]
["产品名称（举例）","结构组成（举例）","适用范围（举例）","子目录","一级产品类别","二级产品类别","管理类别","临床试验设计类型推荐"]
["碳离子治疗设备","该产品通常由加速器子系统、治疗子系统组成。","该产品提供碳离子束用于恶性实体肿瘤的治疗，治疗区域内正常组织耐受剂量超限的情形不适用。","05","01 放射治疗设备","02医用轻离子治疗系统","Ⅲ","临床试验","可考虑采用单组设计"]
["质子治疗设备","该产品通常由加速器子系统、治疗子系统组成。","该产品提供质子束进行放射治疗，适用于治疗全身实体恶性肿瘤及某些良性疾病，具体适应证应由临床医师根据实际情况确定。","05","01 放射治疗设备","02医用轻离子治疗系统","Ⅲ","临床试验","可考虑采用单组设计"]